## Tabelle1
NOD-A1-NP Quantified using NIST 612 as a primary reference Material
[µg/g] | Mg | Ca | Sc | V | Co | Cu | Ga | As | Rb | Sr | Y | Mo | Cd | Sb | Ba | La | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | W | Pb | Th | U
Result 1 | 24900 | 85766.6667 | 8.6533 | 454.7333 | 2623.3333 | 975.2 | 14.2067 | 343.0333 | 12.6867 | 1163.3333 | 82.0533 | 311.8 | 4.5267 | 35.9767 | 1143.3333 | 82.7233 | 17.8367 | 74.2833 | 16.68 | 3.9 | 17.3733 | 2.6333 | 16.7333 | 3.5167 | 10.0233 | 1.45 | 9.66 | 67.31 | 1076.6667 | 17.0867 | 5.5267
Result 2 | 24566.6667 | 87166.6667 | 8.88 | 448.0667 | 2633.3333 | 958.8333 | 14.0567 | 341.0667 | 12.52 | 1176.6667 | 82.7933 | 310.7667 | 4.42 | 35.2867 | 1126.6667 | 83.06 | 17.7633 | 73.9133 | 15.98 | 3.8167 | 17.71 | 2.67 | 16.7 | 3.6033 | 10.15 | 1.4733 | 10.0767 | 68.5233 | 1076.6667 | 17.2867 | 5.4533
Result 3 | 25433.3333 | 87933.3333 | 9.0167 | 464.6667 | 2653.3333 | 991.4667 | 14.1233 | 350.2667 | 12.5033 | 1220 | 85.58 | 320.5333 | 4.4167 | 35.96 | 1163.3333 | 85.96 | 18.24 | 76.63 | 17.0967 | 3.9133 | 17.72 | 2.7767 | 17.1033 | 3.7 | 10.2967 | 1.5033 | 10.43 | 70.0033 | 1066.6667 | 17.73 | 5.5867
Result 4 | 25933.3333 | 91200 | 9.09 | 469.9333 | 2766.6667 | 1019.9333 | 14.6333 | 365.8333 | 13.4 | 1230 | 86.5133 | 331.9333 | 4.7 | 37.8933 | 1206.6667 | 87.2567 | 18.3333 | 78.0467 | 17.0867 | 3.97 | 17.74 | 2.79 | 17.5233 | 3.6867 | 10.5833 | 1.5333 | 10.4233 | 71.21 | 1103.3333 | 17.6633 | 5.68
Result 5 | 25066.6667 | 86600 | 8.7 | 460 | 2673.3333 | 986.8 | 13.56 | 347.6667 | 12.4433 | 1163.3333 | 81.13 | 316.5333 | 4.4133 | 36.9167 | 1130 | 83.18 | 17.73 | 74.1833 | 15.9133 | 3.8667 | 16.6667 | 2.65 | 16.7 | 3.5033 | 9.8833 | 1.4633 | 9.6167 | 69.6467 | 1053.3333 | 16.8 | 5.3867
Result 6 | 24733.3333 | 85966.6667 | 8.59 | 450.9333 | 2603.3333 | 971.1667 | 14.19 | 336.3333 | 12.47 | 1173.3333 | 82.0467 | 310.9667 | 4.3233 | 35.8167 | 1136.6667 | 82.5467 | 17.7567 | 74.1667 | 16.2 | 3.8567 | 17.3367 | 2.6633 | 16.5667 | 3.5567 | 10.11 | 1.4433 | 9.9833 | 69.0567 | 1063.3333 | 17.4333 | 5.4933
Result 7 | 25566.6667 | 87800 | 9.0467 | 458.0667 | 2646.6667 | 990.6667 | 13.7 | 351.9667 | 12.65 | 1183.3333 | 84.9233 | 316.2333 | 4.5 | 36.0267 | 1160 | 83.5967 | 18.05 | 75.8967 | 16.69 | 3.8967 | 17.17 | 2.7367 | 17.1767 | 3.6133 | 10.1533 | 1.46 | 9.7667 | 68.6 | 1083.3333 | 17.3133 | 5.5933
Average | 25171.4286 | 87490.4762 | 8.8538 | 458.0571 | 2657.1429 | 984.8667 | 14.0671 | 348.0238 | 12.6676 | 1187.1429 | 83.5771 | 316.9667 | 4.4714 | 36.2681 | 1152.381 | 84.0462 | 17.9586 | 75.3029 | 16.521 | 3.8886 | 17.3881 | 2.7029 | 16.929 | 3.5971 | 10.1714 | 1.4752 | 9.9938 | 69.1929 | 1074.7619 | 17.3305 | 5.5314
Standard Error | 185.6532 | 694.2589 | 0.07771 | 2.8872 | 20.1112 | 7.3509 | 0.13367 | 3.6117 | 0.12679 | 10.1946 | 0.78243 | 2.8393 | 0.04553 | 0.32613 | 10.4834 | 0.68822 | 0.094365 | 0.60073 | 0.1871 | 0.018328 | 0.14708 | 0.02413 | 0.13088 | 0.029199 | 0.083786 | 0.012147 | 0.12789 | 0.47044 | 6.0796 | 0.1219 | 0.036996
Expansion Factor [k] | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2
Expanded Uncertainty | 371.3065 | 1388.5179 | 0.15542 | 5.7744 | 40.2224 | 14.7017 | 0.26733 | 7.2234 | 0.25358 | 20.3893 | 1.5649 | 5.6785 | 0.091059 | 0.65226 | 20.9668 | 1.3764 | 0.18873 | 1.2015 | 0.37419 | 0.036655 | 0.29415 | 0.048259 | 0.26176 | 0.058399 | 0.16757 | 0.024293 | 0.25579 | 0.94088 | 12.1592 | 0.24379 | 0.073992
Relative expanded Uncertainty [95% CL] | 1.4751 | 1.5871 | 1.7554 | 1.2606 | 1.5137 | 1.4928 | 1.9004 | 2.0755 | 2.0018 | 1.7175 | 1.8723 | 1.7915 | 2.0365 | 1.7984 | 1.8194 | 1.6377 | 1.0509 | 1.5955 | 2.2649 | 0.94264 | 1.6917 | 1.7855 | 1.5462 | 1.6235 | 1.6475 | 1.6468 | 2.5595 | 1.3598 | 1.1313 | 1.4067 | 1.3377
Horwitz RSD [%] | 3.4809 | 2.8858 | 11.5209 | 6.3615 | 4.8826 | 5.6693 | 10.7455 | 6.6301 | 10.9163 | 5.5121 | 8.2178 | 6.724 | 12.7684 | 9.318 | 5.5368 | 8.2109 | 10.3577 | 8.3478 | 10.4886 | 13.0397 | 10.4081 | 13.7734 | 10.4501 | 13.1934 | 11.2829 | 15.0875 | 11.3128 | 8.4548 | 5.5952 | 10.4133 | 12.3661
Horwitz Ratio [HORRAT] | 0.42377 | 0.54995 | 0.15237 | 0.19816 | 0.31003 | 0.26331 | 0.17685 | 0.31305 | 0.18338 | 0.31159 | 0.22784 | 0.26644 | 0.15949 | 0.19301 | 0.32861 | 0.19946 | 0.10146 | 0.19113 | 0.21594 | 0.07229 | 0.16253 | 0.12963 | 0.14796 | 0.12305 | 0.14602 | 0.10915 | 0.22624 | 0.16083 | 0.2022 | 0.13509 | 0.10817
The results listed above are the average of 3 measurements performed in 7 designated areas throughout the pellet's surface
The total number of measurements is 21
HORRAT of ≤ 1 is set as a benchmark for a usable reproducibility
These data are intended to illustrate an achievable reproducibiity. For calibration and validation purposes please use the values from the product information sheet
HORRAT = Measured Relative Standard Deviation / Calculated Relative Standard Deviation using the Horwitz equation
Horwitz, W., Albert, R. (1995). Precision in analytical measurements: Expected values and
and consequences in geochemical analyses. Fresenius Journal of Analytcal Chemistry.
351:507-513
Analytical setup
[11 empty] | ICP-MS |  | AttomES HR-ICP-MS, Nu Instruments
[11 empty] | Laser Ablation |  | Resonetics RESOlution M-50-LR 193nm eximer laser.
[13 empty] | Spot size | 48um
[13 empty] | Frequency | 5 Hz
[13 empty] | Fluence | 2.5 J/cm3
[13 empty] | Ablation time | 40 s
[13 empty] | Gas blank | 13 s
[13 empty] | Scan mode | Linked scan
[13 empty] | Total cycles | 550
[11 empty] | Quantification |  | NIST610
[11 empty] | Internal standard |  | Na
[11 empty] | Data evaluation |  | Iolite 4
Data were acquired at the University of Bergen, Norway.
We would like to thank Siv Hjorth Dundas for providing it.
Copyright © 2021 myStandards GmbH. All Rights Reserved.